## Phase 2
Prerequisites for Phase II – Feasibility and Conceptual Design
Completed
Proposed Energy Resource | General description of the extent and amount of the renewable resource
Existing Energy System | For rural power systems and/or facility heating systems:
Basic configuration (number, size, age, and type of gensets and boilers; efficiency; operating hours)
Capital and replacement costs
Annual fuel consumption
Load information (peak, minimum, average, and future trends)
Plans for system upgrades for all systems:
Residential and commercial electrical service rates
Avoided cost of energy
Proposed System Design | Description of renewable energy technology specific to project location
Alternative system discussion
Optimum installed capacity
Annual generation
Anticipated barriers
Basic integration concept
Proposed System Costs | Total anticipated project cost for this phase
Projected capital cost
Projected debt financing, if applicable
Project Benefits | Annual fuel displacement and savings (in gallons) over the project life
Annual revenue from energy sales, tax credits, green tags, and other incentives
Discussion of non-monetary benefits
Energy Purchase/Sale | Identification of potential energy market
Potential energy purchase and sales rates
Land Ownership | Landowner(s) identified and contacted
Authorization from land owners for onsite feasibility activities
Permits | Obtain authorizations from all applicable agencies for any use of land or resources for feasibility activities
List of applicable permits
Anticipated permitting timeline
Potential regulatory barriers
Environmental | Complete environmental screening that addresses:
Threatened and Endangered species and other habitat impacts
Fisheries and wildlife protection
Water and air quality impacts
Wetland and protected areas
Archaeological and historical resource impacts
Land development constraints
Telecommunications and aviation impacts
Visual and aesthetic resource impacts
Other environmental barriers
Analysis and Recommendations | Basic economic analysis of alternatives
Clear plan for Phase II work

## Phase 3
Prerequisites for Phase III – Final Design & Permitting
Completed
Proposed Energy Resource | Site-specific assessment of available energy resource following industry standards usually based on field measurements, discussions with resource owners, and other onsite activities. Examples of assessment activities include:
Collection and analysis of meteorological tower data at proposed wind turbine locations
Assessment of geological data from surface investigation and test wells for geothermal and natural gas projects
Stream gauging and hydrological modeling for hydroelectric projects
Analysis of wood and sawmill residue availability and delivered cost to biomass energy project locations
Existing Energy System | Annual load profile—power projects may require onsite measurement
Load growth projections
Transmission system layout and capacity
Existing generation system – manufacturer, model number, size, age, and type of gensets and boilers; efficiency; operating hours.
Retirement schedule for existing system
O&M costs for existing system
Proposed System Design | Identification and analysis of system alternatives
Recommended alternative including discussion of impacts on existing system
Assessment of project site, including geotechnical characteristics as necessary
Annual energy production profile
Conceptual system design
Conceptual integration design
Identification of remaining technical barriers
Project Costs | Conceptual level cost estimates for final design and construction
O&M costs - AEA evaluation for renewable O&M assumes 1% of Capital Expenditure in annual cost. Applicants have the option of submitting documentation to establish a different O&M rate for evaluation.
Costs associated with required performance measurement and reporting
Other project costs including leases, taxes, insurance, and financing
Project Benefits | Annual fuel displacement and savings (in gallons) over the project life
Detailed analysis of revenue from energy sales, tax credits, green tags, and other incentives
Discussion of non-monetary benefits
Energy Purchase/Sale | Preliminary energy purchase or sales agreement
Land Ownership | Assessment of site control requirements for proposed project
Environmental | Site-specific assessment of resources that may be significantly affected. Examples include fish and wildlife habitat assessment, visual impact modeling, and air quality assessment.
Plan for addressing potential environmental impacts
Analysis and Recommendations | Comprehensive economic and financial analyses of alternatives
Developed plan for project design and construction activities
Preliminary operational and business plan

## Phase 4
Prerequisites for Phase IV – Construction
Completed
Renewable Energy Resource | Updated data to confirm that resource is still available and sufficient to support the project
Existing Energy System | Final engineered and approved energy system configuration including upgrades
Proposed System Design | Final engineered and approved system design
Final engineered and approved integration design
Interconnection study
Project Cost | Final engineer’s estimate of project cost
Project Benefits | Detailed financial analysis based on chosen business structure and applicable costs, revenues, and incentives
Power Purchase/Sale | Executed power purchase/sales agreement
Apply and receive Certificate of Public Convenience and Necessity (CPCN) from the Regulatory Commission of Alaska, if applicable
Land Ownership | Final land use authorizations obtained
Permits | All necessary permits obtained
Environmental | All environmental issues resolved
Business & Operational Plan | Final operational and business plan, including financial and operational plans for end-of-life. Operational plan should be detailed and include labor and material costs, training needed, minor and major repair schedules, etc.